Limbguard Plus Device:

**Daily Care and Skin Hygiene**



**Skin Assessment:**

* Remove Limbguard Plus device to inspect skin underneath **each shift** and anytime the patient complains of pain or discomfort under the protector.
* Pressure, moisture, heat and dirt can all lead to skin breakdown.
* Cleanse skin gently with warm water. Dry completely.

**To Prevent Skin Breakdown:**

* Ensure a clean dressing is applied to the surgical site.
* If compression is utilized (ace wrap/shrinker sock) apply directly over the dressing with a supplied donning tube.
* Apply sock(s) as directed by Prosthetist (using donning tube as well).
* Place Limbguard device gently back onto limb.

**Contact Numbers For Questions or Follow-Up:**

* 612-863-8963 Minneapolis Office
* 763-546-1177 Golden Valley Office

ORTHOTICS & PROSTHETICS

WINKLEY